1605 Pickering SOW TK

Roof

Will be new from seller (inspect work)

Interior Paint & Door Plan

Three color

Replace hollow core door to garage

Replace damaged sheetrock in garage ceiling and match existing texture

Remove French doors to bonus room

New doorknobs

Exterior Paint Plan

Touch up color match

Exterior

Repair/replace soffit, fascia and siding as needed (prime and paint)

Pressure wash brick

Landscaping/Arbor

Clean up existing beds and landscaping

Clean yard

Minor tree trimming in rear (2 small trees)

HVAC

Condenser-New

Evap coil-new

Furnace-  new

Add duct and vent for bonus room/check existing ducts

Electrical Plan

New lighting throughout

GFCI’s in wet areas

Ensure all receptacles and switches are working

Double tapped breaker in box (1)

Add smoke/CO detectors

Plumbing

Hot Water Tank – 2010 Tankless Keep (Flue not properly sloped

Repair slow drain in one tub

New toilets

Sewer inspected and all ok

Flooring Plan

New LVP throughout

Kitchen

Paint cabinets

New Granite countertops

Make access for dishwasher

Cabinet Hardware plan – new

New Oven/stove - stainless

New vent hood and dishwasher

New sink and faucet

Hall Bathroom

New tub/surround

New vanity top with mirror

New shower faucet

New toilet

Scrape both bathroom ceilings and match existing texture

Primary Suite Bath

New tub/ tile surround

New vanity top & mirror

New toilet

New shower faucet

Misc

Repair damaged truss in attic

Add insulation to R30

New blinds

Smoke detectors

Haul Trash

Clean house