2509 Vancouver SOW

Roof

Replace new

Interior Paint & Door Plan

3 Color

General Spec

Install new blinds

New door knobs

Smoke Detectors

Haul Trash

House Clean

Exterior Paint Plan

1 Color with door accent

Exterior

Soffit and fascia repair

Tuck point mortar where needed

Pressure wash exterior

Seal crack in driveway

Landscaping/Arbor

Remove tree growing through gas supply and touching roof

Landscape and clean yard

HVAC

Furnace- 2018 Service

Evap-2018 Service

AC-2018 Service

Some ducts missing insulation/damaged

Electrical Plan

GFCIs in wet areas

Update some fixtures

Upgrade electrical panel inside the house

Plumbing

Hot Water Tank–2021 Keep

Misc plumbing repairs needed per inspection

Update some fixtures

Sewer line being updated

Flooring Plan

LVT in common areas and carpet in bedrooms

Kitchen

Keep cabinets and countertops

New stove and vent hood keep dishwasher

Bathrooms

New tile shower in Primary

New shower faucet

New shower door

New shower pan

New tub/surround in hall

New vanities in both

Both baths have subfloor issues

Misc

Floor sloping due to rotted beam

Three joists are cut in crawl

Vapor barrier in crawl

Bad subfloor under furnace

Patio door needs replaced due to settling

Repair fire damaged Perlin in attic