7017 Fairfield SOW

Roof

Roof in good condition. Estimated on front end of lifespan

1-2 Years

Interior Paint & Door Plan

Repair damaged closet door

Exterior

Install weatherstripping and repair threshold for ext door

Repair soffit, fascia and siding as needed

HVAC

Furnace- 2010 Service

AC- 2010 Service

Repair disconnect

Service heat pump

Electrical Plan

Raise drip loop on service

Replace bad switch

Cover knockouts in panel

Plumbing

Hot Water Tank – 2021

Replace hose bibs

Install pan under WH and repair exhaust vent

Repair sewer line

Secure toilet

Increase drain grade on shower niche

Kitchen

Repair damaged countertop

Misc

Correct shims in crawlspace

Add smoke detectors