9607 Temple SOW

Roof

Install new

General Spec

Smoke detectors

New blinds

Haul trash

House clean

Interior Paint & Door Plan

2 sets of bifold doors

Ensure doors are operating correctly

Repair sheetrock window returns

New door knobs

Paint interior walls, ceilings & trim

Exterior Paint Plan

Paint Ext. three color

Exterior

Back steps redone

Fascia sealed

Tuck point brick

Pressure wash

Add lentil in foundation at HVAC penetration

Repair cracks in driveway and at carport

Repair damaged siding/soffit

Landscaping/Arbor

Landscaping and clean yard

Cut existing shrubs off of house

Trim any tree limbs off of house

HVAC

Install package unit - 2020

Electrical Plan

GFCI in all wet locations

Ensure all lighting is working properly

Repair both panels per inspection

New lighting throughout

Plumbing

Ensure no leaks

Secure both hose bibs

Sewer inspection complete and in good working order

New fixtures throughout

Install new water heater

Flooring Plan

Keep existing hardwoods

LVT in wet areas – kitchen and bath

Kitchen

New granite tops

Paint cabinets

New appliances – electric stove, dishwasher & vent a hood

New hardware, sink and faucet

Hall Bathroom

New acrylic tub/surround

Remove tile from walls

Install new vanity and toilet

New shower faucet

New mirror

Primary Bath

Keep shower, install new door and faucet

Install new pedestal sink and toilet

New mirror

Misc

Install vapor barrier

Clean out vents in crawlspace and add screen where needed

Cut attic stairs to proper length

Remove wallpaper throughout