1301 Stafford SOW

Roof

Roof in good condition. Estimated on front end of lifespan

Roof replaced in 2025

General Spec

Blinds

Doorknobs & stoppers

Smoke detectors & carbon monoxide

Hauling trash

House cleaning

Interior Paint & Door Plan

Sliding door replaced

Repair all walls and ceilings and paint

Three color spec

New closet doors where needed

Add weather stripping to exterior doors

Exterior Paint Plan

Paint exterior wood to match stone

Paint metal windows exterior

Exterior

Repair damaged siding, trim and fascia

Remove back porch awning/roof

Clean gutters & repair

Remove exterior gable screens

Remove window screens

Replace trim where missing

Landscaping/Arbor

Landscaping and clean yard

Add mulch and trim bushes

HVAC

Furnace-replace new

AC- replace new

Add insulation where needed and ensure proper air flow to all areas of the house

Electrical Plan

GFCI in all wet locations

All new lighting (keep 2 new fans)

Repair romex

Outlet repaired

Lightbulbs & covers

2 outside light fixtures

Plumbing

Hot Water Tank keep existing 2022

Sewer line inspected and all ok

Flooring Plan

Keep LVT in den

Carpet in Bedrooms

LVT the rest of house

Kitchen

Keep cabinets and paint

Keep Formica

Keep sink and faucet

Keep appliances

Primary Bathroom

Add shower door

New toilet

New vanity top

New mirror

New exhaust fan

Hall Bathroom

New tub with tile surround

New vanity and mirror

New exhaust fan

Misc

Repair broken windows

Remove window screens