2025 Scope of Work

9700 Wilderness

Roof

GAF Weathered Gray 25 Year Tab Shingle SKU214628

General Spec

Blinds

Doorknobs

Smoke detectors & carbon monoxide detectors installed

Hauling trash

House cleaning

Interior Paint & Door Plan

3 color spec (Trim, Walls and Ceiling)

Replace 3 Exterior doors

Door latch/strike plates

New closet doors – 2 sets of bi-fold doors

Repair damaged sheetrock as needed

Cancel attic fan on hall ceiling and install sheetrock

Exterior Paint Plan

Pressure Wash and Paint exterior

Exterior

Repair any damaged siding, fascia and soffit

Repair drip edge

Repair window frames

Landscaping/Arbor

Landscaping and clean yard

HVAC

Install new condenser, coil and furnace

Electrical Plan

GFCI in all wet locations

Cover plates on all outlets

Repair loose receptacles

Install new light fixtures throughout the house

Plumbing

Hot Water Tank - New

Sewer line to be inspected – repair small section of sewer line in bathroom vanity

Ensure all plumbing is properly installed

Cut concrete slab for drain plumbing, both kitchen sink and washing machine and connect to sewer

New laundry box

Flooring Plan

Spec LVP throughout

Kitchen

Cabinet plan – New

Remove dishwasher from in front of carport door (no dishwasher)

New granite countertops

New hardware

New sink and faucet

Install new electric stove and vent a hood

Hall Bathroom

New vanity & countertop & mirror

Refinish tub surround – epoxy – New Tub

New toilet