285 Kelso Scope of Work 2026

Roof

Roof in good condition. Estimated on front end of lifespan

Replacing back half only same color as front.

General Spec

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

Repair/replace doors (2 closet doors)

Repair garage door opener

New back door

New hardware

Sheetrock repairs as needed

Exterior Paint Plan

Paint exterior

Exterior

Repair rotten siding

Add trim to windows

Repair soffit and fascia

Remove Dryvit from skirt

Landscaping/Arbor

Landscaping and clean yard

Add flowerbed

Fence repair in back

HVAC

Furnace- 2010 – service –

AC – 2011 – service –

Electrical Plan

GFCI’s in wet areas

Ensure all lights and outlets are in working order

New lighting

Plumbing

Hot Water Tank - 2010 replace

Sewer line in good working order at time of inspection

Replace toilet and vanity in primary bath

Flooring Plan

New flooring throughout

Kitchen

Remove disposal

New appliances

Hall Bathroom

Replace tub faucet

New tub/surround

New toilet

Repair vent

Misc

Add insulation

Ensure one window in each room opens and all are working properly