


285 Kelso Scope of Work 2026

Roof
Roof in good condition. Estimated on front end of lifespan
Replacing back half only same color as front.

General Spec
Smoke detectors
Hauling trash
House cleaning

Interior Paint & Door Plan
Repair/replace doors (2 closet doors)
Repair garage door opener
New back door
New hardware
Sheetrock repairs as needed

Exterior Paint Plan
Paint exterior

Exterior 
Repair rotten siding
Add trim to windows
Repair soffit and fascia
Remove Dryvit from skirt

Landscaping/Arbor
Landscaping and clean yard
Add flowerbed
Fence repair in back

HVAC 
Furnace- 2010 – service – 
AC – 2011 – service – 

Electrical Plan
GFCI’s in wet areas
Ensure all lights and outlets are in working order
New lighting

Plumbing
Hot Water Tank - 2010 replace
Sewer line in good working order at time of inspection
Replace toilet and vanity in primary bath

Flooring Plan 
New flooring throughout

Kitchen
Remove disposal
New appliances

Hall Bathroom 	
Replace tub faucet
New tub/surround
New toilet
Repair vent

Misc
Add insulation
Ensure one window in each room opens and all are working properly
Because the scope of work is developed early or before the renovation has begun, it is subject to change
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