8005 Woodhaven Scope of Work 2026

Roof

Roof in good condition. Estimated on front end of lifespan

Repair carport roof

General Spec

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

Repair ceiling in dining room

Paint is good, color match touchup only

Remove doorbell

Add weatherstrip to front door

Exterior Paint Plan

Paint is good touch up only

Exterior

Repair fascia and trim

Landscaping/Arbor

Clean yard

Ensure no water is getting inside the enclosed carport area

Trim limbs away from roof

Trib shrubs away from house and add mulch

HVAC

Furnace- 2020 - service

AC – 2020 - service

Electrical Plan

Ensure electrical is in good working order and all lights are working

Cap open junction box in the attic

GFCI in all wet areas

Plumbing

Hot Water Tank - 2017

Repair outdoor faucet

Sewer inspection – root line

Kitchen

Ensure vent hood is set to recirculate

Repair leak in kitchen sink

New dishwasher

Bathrooms

Replace stopper in primary bathroom

Install new toilet sink

Misc

Check cracks above doors

Ensure one window in each room opens

Repair broken window pane

Reattach gutters as needed