


8005 Woodhaven Scope of Work 2026

Roof
Roof in good condition. Estimated on front end of lifespan
Repair carport roof

General Spec
Smoke detectors
Hauling trash
House cleaning

Interior Paint & Door Plan
Repair ceiling in dining room
Paint is good, color match touchup only
Remove doorbell
Add weatherstrip to front door

Exterior Paint Plan
Paint is good touch up only

Exterior 
Repair fascia and trim

Landscaping/Arbor
Clean yard
Ensure no water is getting inside the enclosed carport area
Trim limbs away from roof
Trib shrubs away from house and add mulch

HVAC 
Furnace- 2020 - service
AC – 2020 - service

Electrical Plan
Ensure electrical is in good working order and all lights are working
Cap open junction box in the attic
GFCI in all wet areas

Plumbing
Hot Water Tank - 2017
Repair outdoor faucet
Sewer inspection – root line 




Kitchen
Ensure vent hood is set to recirculate
Repair leak in kitchen sink
New dishwasher


Bathrooms	
Replace stopper in primary bathroom 
Install new toilet sink

Misc
Check cracks above doors
Ensure one window in each room opens
Repair broken window pane
Reattach gutters as needed
Because the scope of work is developed early or before the renovation has begun, it is subject to change
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