1910 Fair Oaks Scope of Work 2026

Roof

Roof in good condition. Estimated on front end of lifespan

Remove debris

General Spec

Smoke detectors & CO detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

Paint interior

Door hardware

Exterior

Pressure wash

Evaluate deck

Patch driveway

Landscaping/Arbor

Landscaping and clean yard

Extend downspouts

Trim bushes away from the house

Trim trees

HVAC

Furnace- 2018

AC - 2012

Electrical Plan

Ensure electrical is in good working order and all lights are working

New lights throughout

GFCI in all wet locations

New ceiling fans

Dryer exhaust

Plumbing

Hot Water Tank –New in box at property

Sewer line inspected and all ok

Flooring Plan

Keep LVT in hall and one bedroom

New LVT throughout

Kitchen

Keep cabinets and paint

Cut cabinet to receive standard stove

Keep Formica

Keep tile

Remove disposal

Hall Bathroom

New vanity top/keep sink

2 new faucets

Primary Bath

New vanity top

2 new faucets

Misc

Demo screened in porch and roof

Build walls and doors to create fourth bedroom in bonus

Add closet to bonus

Add insulation