


1910 Fair Oaks Scope of Work 2026

Roof
Roof in good condition. Estimated on front end of lifespan
Remove debris

General Spec
Smoke detectors & CO detectors
Hauling trash
House cleaning

Interior Paint & Door Plan
Paint interior
Door hardware

Exterior 
Pressure wash
Evaluate deck
Patch driveway

Landscaping/Arbor
Landscaping and clean yard
Extend downspouts
Trim bushes away from the house
Trim trees

HVAC 
Furnace- 2018
AC - 2012

Electrical Plan
Ensure electrical is in good working order and all lights are working
New lights throughout
GFCI in all wet locations
New ceiling fans
Dryer exhaust

Plumbing
Hot Water Tank –New in box at property
Sewer line inspected and all ok

Flooring Plan 
Keep LVT in hall and one bedroom
New LVT throughout


Kitchen
Keep cabinets and paint
Cut cabinet to receive standard stove
Keep Formica
Keep tile
Remove disposal

Hall Bathroom 	
New vanity top/keep sink
2 new faucets

Primary Bath
New vanity top
2 new faucets

Misc
Demo screened in porch and roof
Build walls and doors to create fourth bedroom in bonus
Add closet to bonus
Add insulation
Because the scope of work is developed early or before the renovation has begun, it is subject to change
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