4360 Bluebell Street 2026 Scope of Work

Roof

Roof in Good Condition. Make Necessary Repairs

General Spec

Blinds

Doorknobs

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

Replace weather stripping at the front exterior door

Add striker plate at the rear exterior door

Add threshold at storage room door

Add door to water heater closet

Exterior Paint Plan

Caulk & paint windows

Fill gap at the brick on the front porch & at the rear of home

Replace rotten wood siding, fascia & trim and paint

Secure all loose trim

Exterior

Secure fence boards & repair gate

Landscaping/Arbor

Remove vines from house

HVAC

Furnace- 2016

AC- 2019

Ensure thermostat is working

Electrical Plan

Ensure all light fixtures in proper working order

Plumbing

Hot Water Tank - New

Ensure water turning on at hall bath

Repair hose bib

Install cap at the cleanout

Flooring Plan

Replace carpet or add LVT

Hall Bathroom

Reglaze tub

Install toilet

Misc

Add clothes rod to closet

Repair attic access

Repair screens in attic