


4420 Owen Scope of Work 2026

Roof
Roof in good condition. Estimated on front end of lifespan

Interior Paint & Door Plan
Paint walls, doors and trim
Clean fungal growth in bathroom cabinet and paint

Exterior 
Demo and haul away rotten siding/plywood on garage
Install new siding/plywood on garage
Install new garage door
Jack hammer ground and install sump pump at front entry of basement
Install a curb at the entry door of basement to prevent water intrusion
Ensure one window in each room opens
Add handrail at back door
Repair fence and gate where necessary

Landscaping/Arbor
Remove all debris and grass from back yard
Remove and clean out flower bed
Clean out gutters

HVAC 
Furnace- 2025 - service
AC – 2024 – service
Repair ductwork

Plumbing
Hot Water Tank – 2026
Repair shower valve handles
Replace bathroom sink faucet

Flooring Plan 
Sand/stain all wood flooring
New carpet on stairs and upstairs
Replace downstairs carpet with LVP
Repair damaged flooring in the hall and under bathroom

Kitchen
Paint kitchen cabinets inside and out

Electrical
Repair double tapped breaker in main panel

Because the scope of work is developed early or before the renovation has begun, it is subject to change
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