4420 Owen Scope of Work 2026

Roof

Roof in good condition. Estimated on front end of lifespan

Interior Paint & Door Plan

Paint walls, doors and trim

Clean fungal growth in bathroom cabinet and paint

Exterior

Demo and haul away rotten siding/plywood on garage

Install new siding/plywood on garage

Install new garage door

Jack hammer ground and install sump pump at front entry of basement

Install a curb at the entry door of basement to prevent water intrusion

Ensure one window in each room opens

Add handrail at back door

Repair fence and gate where necessary

Landscaping/Arbor

Remove all debris and grass from back yard

Remove and clean out flower bed

Clean out gutters

HVAC

Furnace- 2025 - service

AC – 2024 – service

Repair ductwork

Plumbing

Hot Water Tank – 2026

Repair shower valve handles

Replace bathroom sink faucet

Flooring Plan

Sand/stain all wood flooring

New carpet on stairs and upstairs

Replace downstairs carpet with LVP

Repair damaged flooring in the hall and under bathroom

Kitchen

Paint kitchen cabinets inside and out

Electrical

Repair double tapped breaker in main panel