


3420 Forrester Scope of Work 2026

Roof
Roof in good condition. Estimated on front end of lifespan

General Spec
Smoke detectors & CO2 detector
Hauling trash – inside and out
House cleaning
Install fire extinguisher under kitchen sink
Install blinds where needed
Rekey lock and door handles

Interior Paint & Door Plan
Ensure all closet doors open and close properly
Paint walls, trim and doors to match
Repair and paint all ceilings
Clean and paint vents where needed
Paint closets and closet doors in bedrooms
Repair dry wall
Secure folding doors in hall

Exterior Paint Plan
Paint all trim and siding
Paint landing

Exterior 
Pressure wash 
Remove metal window cover
Secure mailbox
Install chain link gate
Repair screens at gable vents
New rear door

Landscaping/Arbor
Landscaping and clean yard
Remove shrubs in front and install flower bed
Clear brush line in the back yard

HVAC 
Furnace- New
AC - New
New filter
Cage A/C




Electrical Plan
Replace light bulbs that are not functional
GFCI in all wet locations
New ceiling fan in family room & bedroom
Replace light switch where needed
New light fixtures in bedroom & hallway
Replace 2 exterior lights

Plumbing
Hot Water Tank – 2025 service
Sewer line inspected all ok – replace clean out
Repair leaking laundry valves
New water service line from the meter to the house

Flooring Plan 
New LVP in bathroom and bedrooms

Kitchen
Paint cabinets outside
Paint board under sink
Secure cabinets and drawers
New vent a hood
New countertops
Clean out cabinets
Install cabinets above
New sink faucet
Caulk sink
Clean up wood paneling in laundry room

Hall Bathroom 
Replace shower heads	
Replace toilet seats
Paint vanity & fix trim
New light fixture
New medicine cabinet
New tub surround
Glaze tub and tile
Secure loose tile
Caulk tub and toilet and sink


Because the scope of work is developed early or before the renovation has begun, it is subject to change
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