3420 Forrester Scope of Work 2026

Roof

Roof in good condition. Estimated on front end of lifespan

General Spec

Smoke detectors & CO2 detector

Hauling trash – inside and out

House cleaning

Install fire extinguisher under kitchen sink

Install blinds where needed

Rekey lock and door handles

Interior Paint & Door Plan

Ensure all closet doors open and close properly

Paint walls, trim and doors to match

Repair and paint all ceilings

Clean and paint vents where needed

Paint closets and closet doors in bedrooms

Repair dry wall

Secure folding doors in hall

Exterior Paint Plan

Paint all trim and siding

Paint landing

Exterior

Pressure wash

Remove metal window cover

Secure mailbox

Install chain link gate

Repair screens at gable vents

New rear door

Landscaping/Arbor

Landscaping and clean yard

Remove shrubs in front and install flower bed

Clear brush line in the back yard

HVAC

Furnace- New

AC - New

New filter

Cage A/C

Electrical Plan

Replace light bulbs that are not functional

GFCI in all wet locations

New ceiling fan in family room & bedroom

Replace light switch where needed

New light fixtures in bedroom & hallway

Replace 2 exterior lights

Plumbing

Hot Water Tank – 2025 service

Sewer line inspected all ok – replace clean out

Repair leaking laundry valves

New water service line from the meter to the house

Flooring Plan

New LVP in bathroom and bedrooms

Kitchen

Paint cabinets outside

Paint board under sink

Secure cabinets and drawers

New vent a hood

New countertops

Clean out cabinets

Install cabinets above

New sink faucet

Caulk sink

Clean up wood paneling in laundry room

Hall Bathroom

Replace shower heads

Replace toilet seats

Paint vanity & fix trim

New light fixture

New medicine cabinet

New tub surround

Glaze tub and tile

Secure loose tile

Caulk tub and toilet and sink