


4316 Springwind Scope of Work 2026

Roof
Roof in good condition. Estimated on front end of lifespan
Add flashing where needed

General Spec
Smoke detectors
Hauling trash
House cleaning

Interior Paint & Door Plan
Paint walls, trim and ceilings

Exterior 
Caulk & paint windows
Repair rotten trim, fascia and siding
Point up mortar at bricks where needed
Repair shutters
Paint shutters
Secure rain cap at chimney
Repair gates on the fence & ensure the fence is no longer leaning

Landscaping/Arbor
Landscaping and clean yard
Trim limbs

HVAC 
Furnace – 2018 – service – fix vent pipe
AC – 2018 - service

Electrical Plan
Ensure electrical is in good working order and all lights are working
GFCI in all wet locations
Tighten all loose outlets

Plumbing
Hot Water Tank - 2024
Repair valve in primary shower
Replace dishwasher
New flush handle
Replace one toilet
Sewer line inspected – repairs to be made

Flooring Plan 
Repair flooring


Kitchen
New vent a hood

Bathroom
Seal tiles 
Glaze tubs
Replace toilets
Replace two vanities

Misc
Replace dryer vent cover
Patch screens at gable vents
Because the scope of work is developed early or before the renovation has begun, it is subject to change
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